## SUMMARY
| CONSULTANT: PK ASSOCIATES, CHENNAI, BHARUCH. |  | CLIENT: M/s. JTEKT INDIA LTD.,SRIPERUMBUDUR CHENNAI.
PROPOSED PLANT II EXPANSION
PROJECT NO: | 874 | REV: | R0
DOC NO: | PKA-874-01-C-01-277 | DATE: | 18.06.2024
SUMMARY
SL.NO | BUILDING DESCRIPTION | AMOUNT
1 | MAIN BUILDING | 18287230
2 | ROAD & DRAIN | 8648255
| TOTAL | 26935485
| TAX STRUCTURE: GST 18% | 4848387.3
| GRAND TOTAL INCLUDING TAX | 31783872.3

## MAIN BUILDING
|  | CONSULTANT: PK ASSOCIATES, CHENNAI, BHARUCH. |  | CLIENT: M/s. JTEKT INDIA LTD.,SRIPERUMBUDUR CHENNAI.
REV:0 |  | PROJECT: PROPOSED PLANT II EXPANSION- ROAD & DRAIN WORKS | DOC NO. | PKA-874-01-C-01-277
BILL OF QUANTITIES FOR CIVIL WORKS |  |  |  | DT : 18.06.2024
SL.NO | SECTION | DESCRIPTION OF WORKS |  |  |  | AMOUNT
1 | S1 | EARTHWORK
2 | S2 | CONCRETE & FORMWORK
3 | S3 | REINFORCEMENT STEEL WORKS
4 | S4 | MASONRY , PLASTER & POINTING
5 | S5 | FLOORING, DADOING & SKIRTING
6 | S6 | JOINERIES
7 | S7 | PAINTING
8 | S8 | WATER PROOFING / WEATHERING COARSE & RAIN WATER DOWN TAKE PIPE
9 | S9 | ROAD WORK
10 | S10 | MISCELEANEOUS WORKS
11 | S11 | PLUMBING AND SANITARY WORKS
12 | S12 | STRUCTURAL STEEL WORKS
13 | S13 | PILING WORK
TOTAL OF SECTION 1 TO 13
SECTION - 1 : EARTHWORK
TENDER QTY
Sec. No. | Item Code | DESCRIPTION OF WORKS | UNIT | QTY | RATE | AMOUNT
S1 | 1.02.00 | Earth work excavation by mechanical means in foundations for column footings, rafts,trenches , sumps , chambers , drains , equipment foundations and in plinths etc.in ordinary soils including shoring , strutting , dewatering the subsoil water and pumping the same atleast 100mts away from the excavations including backfilling around foundations , basement and plinth with selected excavated earth in 200 mm thick layers, watering, compacting with plate vibrators or Rollers to 150mm thk as specified and as directed, and disposing the surplus earth with an intial lead of 500m including spreading,levlling etc. complete.
S1 | 1.02.01 | 0.00 m to 3.00mdepth | Cum | 1230 | 475 | 584250
S1 | 1.07.00 | Carting away the surplus excavated materials Inside the plant premises beyond a lead of 500 m by mechanical means, depositting in low level areas or plinths of structures either manually and or mechanically, spreading uniformly, levelling to required slope and length as directed by Site Engineer ,including cost of labour , transportation hire charges, etc. complete.
S1 | 1.07.01 | Upto a lead of 1 km | Cum | 492 | 225 | 110700
S1 | 1.09.00 | Supplying & Filling in foundation and in plinth in layers ( thickness of each layer as confirmed by Client / Consultant ) , each layer Consolidation by flooding with water and Comapaction after drying by using plate vibrators / Hand Rollers of 10 T capacity to acheive required compaction of 95% to 98 % proctor density and as directed by the Consultants ,and finish to given level etc complete. ( The quoted price shall include necessary field test and submitting reports as required by Consultant / Client ) .
S1 | 1.09.01 | Pitsand filling | Cum | QRO | 1300
S1 | 1.09.02 | River sand | Cum | QRO | -
S1 | 1.09.03 | Murram or Hill earth filling . | Cum | 454 | 1400 | 635600
S1 | 1.09.04 | Gravel filling . | Cum | QRO | -
S1 | 1.09.05 | Quarry dust | Cum | QRO | 2750
S1 | 1.09.06 | Sand- gravel mix | Cum | QRO | -
S1 | 1.09.07 | Yellow Soil | Cum | QRO | -
S1 | 1.09.08 | M Sand | Cum | 18 | 2650 | 47700
S1 | 1.10.00 | Labour for Backfilling in foundation & plinth using selected excavated earth which is kept beyond 500 m in layers ( thickness of layer as confirmed by Consultant / Client ) each layer Consolidation by flooding with water and Comapaction after drying by using plate vibrators / Hand Rollers of 10 T capacity to acheive required compaction of 95% to 98 % proctor density and as directed by the Consultants ,and finish to given level etc complete. ( The quoted price shall include necessary field test and submitting reports as required by Consultant / Client ) . | Cum | QRO | 200
S1 | 1.11.00 | Site Grading ( Cutting & Filling ) by mechanical means as per the drg and as directed by site in Charge / Consultant / Client, in line with specifications as followed for excavations and filling , to include cost of labour and hire charges towards material handling , etc. complete . ( Qty of cutting area only will be measured & not filling area ). | Cum | QRO | 350
S1 | 1.13.00 | Labour for removal and cleaning of Bushes / Vegetation to a root depth from the proposed construction areas and the same has to be disposed outside the Plant / Factory premises area icluding cost of labour , transportation etc. complete . | Sqm | QRO | 15
SECTION - 2 : CONCRETE & FORMWORK
S2 | 02.02.00 | Providing and laying Plain Cement Concrete in Mud mat in all foundations, plinths etc. using 40 mm maximum size and downgraded stone aggregate including form work, compacting , curing, finishing to given line and levels etc. complete.
S2 | 02.02.01 | PCC 1:4:8 (M7.5) | Cum | QRO | 8250
S2 | 02.02.02 | PCC 1:3:6 (M10) | Cum | 75 | 9250 | 693750
S2 | 02.03.00 | Providing and laying Plain Cement Concrete in Leveling coarse using 40mm maximum size and downgraded stone aggregate including form work compacting , curing, finishing to given line and levels etc. Complete.
S2 | 02.03.01 | PCC 1:4:8 (M7.5) | Cum | QRO | 8250
S2 | 02.03.02 | PCC 1:3:6 (M10) | Cum | 158 | 9250 | 1461500
S2 | 02.09.00 | Providing and laying reinforcement cement concrete by using SITE MIX / AJOX machine of M25 Grade having min Cement Content & Water Cement Ratio as specified in IS 456 -2007 and as per consultant /client approved Design Mix Report, cement using OPC 43 / 53 Grade , but without any flyash content per meter cube using 20mm and down graded machine crushed stone aggregate for footings, pile caps, columns, rafts, raft beams, pedestals, kerbs, plinth beams, equipment foundations, wall concrete for drains, trenches, chambers & sumps etc.upto finished floor level including ( Upto FFL ) vibrating, tamping, curing and rendering the concrete surfaces if required etc. Complete. (Cost of shuttering and reinforcement will be measured separately) | Cum | QRO | 7500
S2 | 02.10.00 | -Do- as 02.09.00 ., but in Superstructure in columns, lintels, beams, frames, sunshades, slabs, facia, brackets, drops, bracing, Wall concreting for all works including providing pockets, cutouts, vibrating, tamping, curing and rendering the concrete surface required etc. complete. (Cost of shuttering and reinforcement will be measured separately)
S2 | 02.10.01 | 0.00m to +4.50m Lvl | Cum | 17 | 8000 | 136000
S2 | 02.13.00 | Providing and laying in position READY MIX CONCRETE of Specified Grade at all Lvls (design mix report as approved by consultant ) using Ordinary Portland Cement with a minimum Cement Content (Without Fly ash) with water cement ratio as specified , use of plasticizer of approved make and dosage of required grade at all locations and levels, using 20 mm size and down graded aggregates in all types of works including hire charges for pump and pumping charges to the required locations, machine vibrating, tamping, curing, providing fixtures like fan clamps, beading as specified, charges, conveyance of RMC from plant to the site or all as required ( excluding cost of reinforcement and fabrication chachrges, centering and shuttering ), getting prior approval on Design Mix Report from Client / Consultant , adoptng Pour Card system etc., complete as per IS 4926 of 1976 / 1990 at all levels, etc. The Contractor shall include rate towards to conduct Slump test for each transit at site , to provide computerised batch slip alongwith each transit & necessary charges towards curing of newly laid concrete surface to control shrinkage surface cracks.
S2 | 02.13.03 | M25 GRADE Concrete | Cum | QRO | 7500
S2 | 02.13.04 | M30 GRADE Concrete | Cum | 248 | 8150 | 2021200
S2 | 02.15.00 | Providing and grouting the pockets and column bases with Cement concrete of M20 Grade using 6 to 12mm downgraded size chips including Labour,Formwork ,Curing etc., complete | Cum | QRO | 15000
S2 | 02.16.00 | Providing and grouting the pockets and column bases with Non Shrink Cement Grout of Conbextro GP2 (Fosroc) or equivalent as approved by Consultant / Client , as per the manufacturer guidelines and specification including necessary formwork , cost of materials , labour , tools and machineries , curing etc., complete. | Cum | 1 | 65000 | 65000
S2 | 02.20.00 | Providing and fixing Plywood centering and shuttering in all foundations and up to finished floor level (Upto FFL) for footings,pile caps, raft slab / beams, columns, pedestals, plinthbeams, drains & trenches, Chambers/ pits,Staircases etc. with necessary strutting, bracing propping etc. Keeping the same in position during concreting and removal of the same after a specified period etc. Complete. | Sqm | 806 | 700 | 564200
S2 | 02.21.00 | Providing and fixing Plywood Centering and Shuttering in super- structure ( above FFL ) in RCC columns, portal column, Floor slabs /beams,Roof Slab /beams, lintels, sunshades, portal frames, canopies,facias, kerbs, brackets gutters,Staircases etc. keeping the same in position during concreting & removal of the same after a specified period etc. complete. ( Slab shuttering shall be in steel ) .
S2 | 02.23.01 | (+) 0.00m to +4.50m Lvl | Sqm | 155 | 750 | 116250
S2 | 02.27.00 | Providing and fixing of foundation pockets in plywood shuttering as to a required size and depth as per the drawing in machinery foundations, keeping the same in position during concreting and removal of the same after a specified period etc., complete
S2 | 02.27.01 | Up to a depth of 300 mm | Sqm | 1 | 500 | 500
PART III |  | SECTION - 3 : REINFORCEMENT STEEL WORKS
S3 | 03.01.00 | Supplying , Fabrication & Erection in position at all levels steel reinforcement of approved quality confirming to IS -1786 for all RCC works including cutting,bending & binding with approved 18 Gauge M.S. annealed binding wire or by welding if required, with necessary laps, chairs, supports, concrete cover blocks, laps etc. complete including the cost of binding wire , Labour etc.complete . The rate shall include submission of necessary third part test certificates for supplied lot of steel as per IS & as demanded by Consultant ., etc . Complete .
S3 | 03.01.01 | Fe 415 / Fe 500 - SAIL / VSP (Vizag) / TATA . | MT | QRO | 82000
S3 | 03.01.02 | Fe 415 / Fe 500 - Any IS approved Brands . | MT | 46 | 78500 | 3611000
SECTION - 4 : MASONRY , PLASTER & POINTING.
S4 | 04.03.00 | Providing and laying first class Brick Masonry in CM 1:5 in foundations and up to finished floor lvl (FFL) level using approved quality Chamber bricks or locally available good quality burnt stock bricks having Min.Compressive Strength of 5 N/Sqmm or 50 Kg /sqcm and as approved by Consultant / Client including raking the joints, curing, scaffolding etc. complete. | Cum | 47 | 8400 | 394800
S4 | 04.04.00 | Providing and laying first class Brick Masonry in CM 1:5 in Super Structure (above FFL) level using approved quality Chamber bricks or locally available good quality burnt stock bricks having Min. Compressive Strength of 5 N/Sqmm or 50 Kg /sqcm and as approved by Consultant / Client including raking the joints, curing, scaffolding etc. complete. -
S4 | 04.04.01 | (+) 0.00m to +4.50m Lvl | Cum | 89 | 8600 | 765400
S4 | 04.07.00 | Providing and laying half brick thick partition ( 115mm thk) walls in cm 1:4 at all levels using table moulded chamber burnt stock bricks of approved quality WITH 8 MM torsteel at every 4th layer of brick work including scaffolding curing , complete | Sqm | QRO | 1150
S4 | 04.17.00 | Prepare the surfaces of all ceiling and sofits of RC surfaces in all floors and plastering in cm 1:3, 12 mm thick finished smooth with trowel and sponge including chipping, hacking, scaffolding curing etc complete | Sqm | 50 | 430 | 21500
S4 | 04.19.00 | Prepare the surfaces of all internal walls at all heights and plaster in cm 1:4, 15mm thick, finished smooth with trowel and sponge and providing 6 mm x 6mm recessed grooves at the junction of all RCC surfaces and brickwork including and scaffolding, curing, etc complete | Sqm | 610 | 420 | 256200
S4 | 04.20.00 | Prepare the surfaces of all external walls at all heights and plaster in c.m. 1:5,16mm thick finished smooth with wood float, including scaffolding complete. | Sqm | 420 | 490 | 205800
SECTION - 5 : FLOORING, DADOING & SKIRTING .
S5 | 05.01.00 | Providing and laying Granular Sub-base ( GSB) by providing close graded materails, consisting of Coarse Sand, Stone Dust, Gravel, Crushed Stone or combination thereof depending upon the grading required, mixing by mix in place method the rotator at OMC, carriage of mixed material to work Site, spreading in uniform layers with motor grader on prepared surface and compacting with Vibratory Power Roller to achieve the desired density complete as per Technical Specifications Clase 401. Grading - I (Table - 400-1) Morth Specfication - 401A. | Cum | 334 | 2100 | 701400
S5 | 05.03.00 | Providing and Laying "HDPE" sheet of 150 Microns thk as Moisture Barrier over the PCC levelling coarse with necessary minimum over lap of 4" wide , to hold water content in overlaid concrete and to protect moisture ingression from subsurface of flooring , inclusive of necessary materials and labour etc. complete. | Sqm | QRO | 90
S5 | 05.05.00 | Prepare the surface of leveling course and lay flooring of various thickness of concrete by using SITE MIX / AJOX machine of Specified Grade having min Cement Content & Water Cement Ratio as specified in IS 456 -2007 and as per consultant /client approved Design Mix Report, cement using OPC 43 / 53 Grade , but without any flyash content per meter cube using 20mm and down graded machine crushed stone aggregateas , reinforcements as per Design Floor Load requirement in both ways and the flooring laid in panels etc. complete including curing, laying in line and levels etc. finishing the top surface smooth By Dewatered vaccum flooring (TRIMEX ) by Fixing of channels at an specific interval, line and length and finish the concrete, vibrated with screed vibrator, lay dewatering matt and remove the excess water from concrete by using specified devise and finish the floor by laying rough , medium and smooth power trowels. ( including the cost of shuttering & but reinforcement steel will be measured seperately) .
S5 | 05.05.04 | M25 Grade - 100mm thk | Sqm | QRO | 1200
S5 | 05.05.05 | M25 Grade - 150mm thk | Sqm | 1526 | 1475 | 2250850
S5 | 05.10.00 | Prepare the surface of leveling course / RC slab and lay Grano / IPS concrete flooring of various thickness of M20 Grade using 6mm and down size black granite chips to given lines and levels including laying in alternate panels, finishing the surface smooth to given levels, curing etc., complete at all levels.
S5 | 05.10.01 | 25mm thk | Sqm | QRO | 400
S5 | 05.10.02 | 50mm thk | Sqm | 10 | 500 | 5000
S5 | 05.10.03 | 75 mm thk | Sqm | QRO | 750
S5 | 05.57.00 | Providing & Groove cuting in the Concrete floor / Road to a size of 4 mm X 10 mm at the construction /day / dummy joints and applying MASTER SEAL NP474 (BASF) or any other equivalent make as approved by consultant / Client, in the joint as specified by manafacturer guidelines and as directed , inclusive of applying & removing the mask tape after grouting , including all materials , labour etc., complete. | RM | 588 | 150 | 88200
S5 | 05.58.00 | Providing & Groove cutting in the Concrete floor / Road to a size of 10 mm X 20 mm at the Expansion joint and applying the MASTER SEAL NP474 (BASF) or any other equivalent make as approved by Consultant / client , in joint as specified by manafacturer guidelines and directed , inclusive of applying and removing the mask tape after grouting , including all materials , labour etc. complete . | RM | QRO | 220
SECTION - 6: JOINERIES
S6 | 06.67.00 | Supplying and fixing " Agew " or equivalent make Steel "N" Type Glazed Ventilator using standard sections for frame work with standard overlap, the glazing done with standard overlap, glacier putty including providing 10 guage 25 mm x 25 mm mesh between glazings frame, necessary glazing pins MS hold fasts, one coat of anti-corrosive zinc chromate red oxide primer, two coats of synthetic enamel paint of approved make and shade etc complete | Sqm | 46 | 4800 | 220800
| 06.04.00 | Natural Anodised Aluminium Three track sliding windows: Supplying, fabricating and fixing anodised (10 microns) three track sliding windows made out of Indal sections 9140(1.637 kg/Rm) for bottom gutter, 4098 (1.066kg/m) for side frames and 9777(0.493 kg/m) 9778(0.632kg/m) for shutter side frames and 3994(0.38 kg/m) for shutter bottom frame and top frame with all necessary fittings, like wheels, rubber gasket, locks and top guide with 4 mm thick float glass etc complete | Sqm | 18 | 410 | 7380
S6 | 06.26.00 | Natural Anodised Aluminium Doors with with Pre painted Bison / Calcium Silicate Board 12mm thk : Supply, fabricating and fixing natural anodised aluminium 10 to 15 microns single Leaf/Double leaf door made out of section No.1 9221 ( 1.975 kg/rm ) as door outer frame and 9241 ( 1.418 kg /r m ) 9239(1.365kg/rm) as door verticle 9200 (( 1.974 kg / rm ) as door bottom top and bottom 9240 ( 1.594 kg /rm ) as door middle 80 mm x 44.5 mm x 2 mm section for door top with all necessary fittings like heavy duty hinges, locks, top and bottom 9240 ( 1.594 kg /rm ) as door middle 80mm x 44.45 mm x 2 mm section for door top with all necessary fittings like heavy duty hinges, locks, tower bolts, handles, rubber gaskets with 5 mm thick float glass at top of door shutter and 12 mm pre painted Bison / Calcium Silicate board etc complete. | Sqm | 15 | 500 | 7500
S6 | 06.74.00 | Providing and fixing of Gear Operated Rolling Shutters of approved make for clear openings of sizes as shown in the drawing and as directed using 18 guage MS sheets, with accessories like side guides, side brackets, top suspension shafts, ball bearings, locking arrangements from both sides, MS hoodcover etc, including a coat and two coats of synthetic enamel paint of approved make and shade etc complete | Sqm | 76 | 7000 | 532000
S6 | 06.75.00 | Providing and fixing of Gear Operated Rolling Shutters of partly rolling grill of approved make for clear openings of sizes as shown in the drawing and as directed using 18 guage MS sheets, with accessories like side guides, side brackets, top suspension shafts, ball bearings, locking arrangements from both sides, MS hoodcover etc, including a coat and two coats of synthetic enamel paint of approved make and shade etc complete | Sqm | 18 | 8000 | 144000
S6 | 06.69.00 | Supply , fabrication and fixing of MS weld mesh Openable Door / Gate using approved make of hot rolled steel angles for outer frames , shutter frames & mullions , flats for stiffners , 50 sq weld mesh of 3mm thk as per the drg and as directed including a coat of anti-corrosive zinc chromate primer and two coats of synthetic enamel paint of approved make and shade , materials , labours , consumables, etc complete . | Kg | 300 | 125 | 37500
S6 | 10.23.00 | Supplying & Fixing of MS Chequred plates (6mm thk ) for cable trench cover as per the drg and as directed to given line & level,including Enamel paint of approved make and shade including coat of primer & 2 coats of finish paint , consumables , labour etc , complete . | Sqm | QRO | 130
SECTION - 7: PAINTING
S7 | 7.01.00 | Prepare the surfaces of Ceiling at all heights and Sofits of RCC surfaces and apply 2 Coats of White Cement of approved Brand "JK Birla White" or any other Equivalent as approved by Consultant / Client, over a coat of primer including, Scaffolding, Curing etc. complete | Sqm | 50 | 110 | 5500
S7 | 7.03.00 | Prepare the surfaces of all Internal wall at all heights and apply 2 coats of Cement paint of approved make and shade over a coat of primer including Scaffolding,curing etc. complete. ("Supercem or Duracem") | Sqm | QRO | 125
S7 | 7.04.00 | Prepare the surfaces of all External wall at all heights and apply 2 coats of Cement paint of approved make and shade over a coat of primer, including Scaffolding, Curing etc. complete ("Supercem or Duracem") | Sqm | QRO | 125
| 7.07.00 | Emulsion Painting for Internal Walls : (With Putty) Surface Preparation : Remove all the foreign matters such as Cement plaster splash, oil stains, grease stains, mosaic / marble polishing, white cement etc. thoroughly scrapping by use of blade, Emery stone or Emery sheets. Use mild solvents in case Grease or oil stains are hard. Fill up the crevices with Cement or POP. Make sure that the corners are properly plastering in line and levels are correct. Application of Base Putty : Base Putty of approved make is in paste form and only a small quantity or potable grade water has to be mixed so as to get a workable mix . The material is applied by using a metal trowel with handle. The First coat will be approximately 1.0 to 1.5 mm and it will cover all the troughs on the surface. After drying, water Emery sheet is applied to remove excess material and overlapping joints. The surface is dusted completely. The Second coat is applied by using a metal trowel with handle and the thickness will vary from 0.5 to 1.5 mm depending on the undulations on the surface. This will also cover the hills on the surface. After drying, water overlapping joints. The surface is dusted completely. Finishing Putty : One coat of water base primer is applied by brush. This to will help in identifying the areas where touch-up putty has been applied to get a level finish. Putty is applied with a small spatula or putty blade to correct the surface, wherever required. After drying water emery sheet is applied to remove excess material and overlapping joints. The surface is dusted completely.One coat of Ultra smooth fnishing putty is applied as a thick coat of 0.5 mm thick by using a metal trowel on the entire surface. After drying water emery sheet is applied to remove excess material and overlapping joints. Finishing coats: First coat of premium emulsionof ICI Velvet touche or Asian Royale make is applied by brush to cover the entire surface. Final coat after all other agencies work is completed, just before occupation the premium emulsion of ICI venvelt touch or Asian Royale make is applied by Roller as required to get an even finish. | Sqm | 501 | 250 | 125250
| 7.09.00 | Emulsion Painting for External Walls : Removing the loose particles over the exterior plastering, levelling the undilated surfaces etc using mosaic stone and supply and apply two coats of exterior grade white cement putty ( for example - BIRLA WHITE WALL CARE (OR) any approved brand ) apply one coat of white primer of exterior grade, against sanding and levelling the undulations , finally two coats of ASIAN APEX (or) DULEX weather shield exterior grade emulsion paint complete | Sqm | 420 | 250 | 105000
SECTION -10 : MISCELEANEOUS WORKS .
S10 | 10.24.00 | Supplying , fabrication & Fixing of anchor / foundation bolts of given diameter and length in position using templates in pedestals / columns / Equipment foundations concreting works using Total station Survey equipment in line and levels as per the drg , welding the bolt with reinforcement rods to maintain verticality , check the same before & after the concreting , apply greeace for the threaded lengths of bolts and protect the same by polythene cover etc complete. | Kg | 800 | 175 | 140000
S10 | 10.33.00 | Dismantling and breaking of RCC concrete Upto FFL including necessary excavation / back filling as per site engineers direction, without disturbing the adjacent structure and depositing the debris with lead of 1 KM. including removing the salvagable material, and if necessary weighing the reinforcement rod in the weigh bridge and placing it in the stock yard. | Cum | 88 | 4750 | 418000
S10 | 10.34.00 | Dismantling and breaking of RCC concrete Above FFL including necessary Staging & Scaffolding as specified and as directed by Consultant / Client , without disturbing the adjacent structure and depositing the debris with lead of 1 KM. including removing the salvagable material, and if necessary weighing the reinforcement rod in the weigh bridge and placing it in the stock yard. | Cum | 2 | 4750 | 9500
S10 | 10.35.00 | Dismantling & breaking of Brick / Rubble /Block masonry at any levels as specified and as directed and without disturbing the adjacent structure and depositing the debris with lead of 1 KM. including removing the salvagable material, necessary Scaffolding/Stage work etc. | Cum | 71 | 3200 | 227200
S10 | 10.36.00 | Dismantling & breaking of Plain Cement Concrete works at any levels as specified and as directed and without disturbing the adjacent structure and depositing the debris with lead of 1 KM. including removing the salvagable material, necessary Scaffolding/Stage work etc. | Cum | 42 | 3000 | 126000
S10 | 10.39.00 | Labour for Removal of WBM layer of thickness not exceeding 150 mm from Existing Electrical transformer areas or Other specified areas , and stock the materials as directed including necessary labour etc. Complete. | Sqm | 380 | 220 | 83600
S10 | 10.71.00 | Labour for Removal of GSB layer of thickness not exceeding 300 mm from Existing Electrical transformer areas or Other specified areas , and stock the materials as directed including necessary labour etc. Complete. | Sqm | 370 | 220 | 81400
S10 | 10.15.00 | Supplying , fabrication & Fixing of MS Insert plates/Edge angles in reinforced concrete works with necessary holdfasts, to given line level as per the drg and as directed , Including materials, consumables , labour etc. complete. | Kg | 500 | 130 | 65000
S10 | 10.09.00 | Supplying and fixing "PVC Chainlink fencing" tied to the steel post ( ISA 75X75X8) spaced @ every 2400mm c/c , using 16 gauge binding wire @ 200mm c/c interval and two cross diagonals between posts , ht of post is 1800 mm ht, vertical / strut post painting with 2 coats of Enamel paint over a primer coat of approved make , neat finishing to line and level etc. complete | RM | 82 | 2500 | 205000
S10 | 10.70.00 | Supply and Laying of WBM Railway Standard Metal filling from Electrical yard or in some other areas of thickness not exceeding 150mm as pointed and as directed clearing the same at work site to do necessary segreation and fill the same to a required lvl and areas as specified and as directed, etc. complete . | Cum | 12 | 2200 | 26400
S10 | 11.26.00 | Supplying and fixing Precast Concrete Manhole cover with necessary RCC frame including fixing in position level etc. complete. (SFRC)
| 11.26.01 | 600 mm x 600 mm ( Medium duty) | Nos | 1 | 3000 | 3000
| 11.26.02 | 600 mm x 600 mm ( Heavy Duty) | Nos |  | 4500
S10 | 10.04.00 | Providing and fixing "PVC Rungs" as per the drawings and or as directed by Engineer in charge, fixing in position in line and levels etc complete | No's | 10 | 750 | 7500
S10 | 10.28.00 | Providing and fixing RCC Precast slab of specified sizes and thickness as per the drg and as directed using M20 Grade Concrete including making platform, moulds, reinforcing the same with reinforcement of specified dia and spacing bothways , Casting, Finishing,Curing , Shifting, Erection, Alignment and Pointing the joints with CM 1:3 mortar with line and levels including curing etc. complete . ( Reinf.steel will be measured seperately )
| 10.28.01 | 50 mm Thk | Sqm | 10 | 650 | 6500
S10 | 10.52.00 | Labour Charges towards "Removal & Refixing "of existing Windows / Doors / Ventilators/ Partitions from its position in existing buildings as specified and as directed by representatives of Consultant / Client ,at all levels including necessary staging /Scaffolding etc complete. | Sqm | 8 | 300 | 2400
SECTION - 12 : STRUCTURAL STEEL WORKS
S12 | 12.01.00 | Supplying , Fabricating & Erection by bolting/ welding at site or shop using hot rolled sections of E250 Grade of approved make confirming to IS - 2062 , in position at all heights as per drg and as specified for all structural steel works in column, platforms, roof trusses, lattices, rakers, bracers ,purlins , runners, structs, rain water gutter supports ,Staircases etc including necessary washers, taper plates, permanent and site connection bolts etc as required and including all materials ,labour , comsumables and hire charges for machineries , tools and tackles. ( No extra will be paid for welding weights and bolts weight which shall be included in the rate ) | MT | 8 | 115000 | 920000
0
S12 | 12.45.00 | Supplying & Painting of all Structural Works with a coat of anti-corrosive Zinc Chromate Primer and finish paints of two coats of Synthetic Enamel Paint of approved make and shade , total DFT -100 micron ( including cost of paint and primer ) | MT | 8 | 5500 | 44000
[5 empty] | Total | 18287230
TOTAL COST OF SECTIONS 1 TO 13

## ROAD & DRAIN
|  | CONSULTANT: PK ASSOCIATES, CHENNAI, BHARUCH. |  | CLIENT: M/s. JTEKT INDIA LTD.,SRIPERUMBUDUR CHENNAI.
REV:0 |  | PROJECT: PROPOSED PLANT II EXPANSION- ROAD & DRAIN WORKS | DOC NO. | PKA-874-01-C-01-277
BILL OF QUANTITIES FOR CIVIL WORKS |  |  |  | DT : 12.06.2024
SL.NO | SECTION | DESCRIPTION OF WORKS |  |  |  | AMOUNT
1 | S1 | EARTHWORK
2 | S2 | CONCRETE & FORMWORK
3 | S3 | REINFORCEMENT STEEL WORKS
4 | S4 | MASONRY , PLASTER & POINTING
5 | S5 | FLOORING, DADOING & SKIRTING
6 | S6 | JOINERIES
7 | S7 | PAINTING
8 | S8 | WATER PROOFING / WEATHERING COARSE & RAIN WATER DOWN TAKE PIPE
9 | S9 | ROAD WORK
10 | S10 | MISCELEANEOUS WORKS
11 | S11 | PLUMBING AND SANITARY WORKS
12 | S12 | STRUCTURAL STEEL WORKS
13 | S13 | PILING WORK
TOTAL OF SECTION 1 TO 13
SECTION - 1 : EARTHWORK
TENDER QTY
Sec. No. | Item Code | DESCRIPTION OF WORKS | UNIT | QTY | RATE | AMOUNT
S1 | 1.02.00 | Earth work excavation by mechanical means in foundations for column footings, rafts,trenches , sumps , chambers , drains , equipment foundations and in plinths etc.in ordinary soils including shoring , strutting , dewatering the subsoil water and pumping the same atleast 100mts away from the excavations including backfilling around foundations , basement and plinth with selected excavated earth in 200 mm thick layers, watering, compacting with plate vibrators or Rollers to 150mm thk as specified and as directed, and disposing the surplus earth with an intial lead of 500m including spreading,levlling etc. complete.
S1 | 1.02.01 | 0.00 m to 3.00mdepth | Cum | 595 | 475 | 282625
S1 | 1.02.02 | 3.00m to 6.00m depth | Cum | QRO | 600
S1 | 1.07.00 | Carting away the surplus excavated materials Inside the plant premises beyond a lead of 500 m by mechanical means, depositting in low level areas or plinths of structures either manually and or mechanically, spreading uniformly, levelling to required slope and length as directed by Site Engineer ,including cost of labour , transportation hire charges, etc. complete.
S1 | 1.07.01 | Upto a lead of 1 km | Cum | QRO | 225
S1 | 1.09.00 | Supplying & Filling in foundation and in plinth in layers ( thickness of each layer as confirmed by Client / Consultant ) , each layer Consolidation by flooding with water and Comapaction after drying by using plate vibrators / Hand Rollers of 10 T capacity to acheive required compaction of 95% to 98 % proctor density and as directed by the Consultants ,and finish to given level etc complete. ( The quoted price shall include necessary field test and submitting reports as required by Consultant / Client ) .
S1 | 1.09.01 | Pitsand filling | Cum | QRO | 1300
S1 | 1.09.02 | River sand | Cum | QRO | -
S1 | 1.09.03 | Murram or Hill earth filling . | Cum | 100 | 1400 | 140000
S1 | 1.09.04 | Gravel filling . | Cum | QRO | -
S1 | 1.09.05 | Quarry dust | Cum | QRO | 2750
S1 | 1.09.06 | Sand- gravel mix | Cum | QRO | -
S1 | 1.09.07 | Yellow Soil | Cum | QRO | -
S1 | 1.09.08 | M Sand | Cum | QRO | 2650
S1 | 1.10.00 | Labour for Backfilling in foundation & plinth using selected excavated earth which is kept beyond 500 m in layers ( thickness of layer as confirmed by Consultant / Client ) each layer Consolidation by flooding with water and Comapaction after drying by using plate vibrators / Hand Rollers of 10 T capacity to acheive required compaction of 95% to 98 % proctor density and as directed by the Consultants ,and finish to given level etc complete. ( The quoted price shall include necessary field test and submitting reports as required by Consultant / Client ) . | Cum | QRO | 200
S1 | 1.11.00 | Site Grading ( Cutting & Filling ) by mechanical means as per the drg and as directed by site in Charge / Consultant / Client, in line with specifications as followed for excavations and filling , to include cost of labour and hire charges towards material handling , etc. complete . ( Qty of cutting area only will be measured & not filling area ). | Cum | QRO | 350
S1 | 1.13.00 | Labour for removal and cleaning of Bushes / Vegetation to a root depth from the proposed construction areas and the same has to be disposed outside the Plant / Factory premises area icluding cost of labour , transportation etc. complete . | Sqm | QRO | 15
SECTION - 2 : CONCRETE & FORMWORK
Sec. No. | SL.NO | DESCRIPTION OF WORKS | UNIT | QTY | RATE | AMOUNT
S2 | 02.02.00 | Providing and laying Plain Cement Concrete in Mud mat in all foundations, plinths etc. using 40 mm maximum size and downgraded stone aggregate including form work, compacting , curing, finishing to given line and levels etc. complete.
S2 | 02.02.01 | PCC 1:4:8 (M7.5) | Cum | 30 | 8250 | 247500
S2 | 02.02.02 | PCC 1:3:6 (M10) | Cum | QRO | 9250
S2 | 02.03.00 | Providing and laying Plain Cement Concrete in Leveling coarse using 40mm maximum size and downgraded stone aggregate including form work compacting , curing, finishing to given line and levels etc. Complete.
S2 | 02.03.01 | PCC 1:4:8 (M7.5) | Cum | QRO | 8250
S2 | 02.03.02 | PCC 1:3:6 (M10) | Cum | QRO | 9250
SECTION - 3 : REINFORCEMENT STEEL WORKS
Sec. No. | SL.NO | DESCRIPTION OF WORKS | UNIT | QTY | RATE | AMOUNT
S3 | 03.01.00 | Supplying , Fabrication & Erection in position at all levels steel reinforcement of approved quality confirming to IS -1786 for all RCC works including cutting,bending & binding with approved 18 Gauge M.S. annealed binding wire or by welding if required, with necessary laps, chairs, supports, concrete cover blocks, laps etc. complete including the cost of binding wire , Labour etc.complete . The rate shall include submission of necessary third part test certificates for supplied lot of steel as per IS & as demanded by Consultant ., etc . Complete .
S3 | 03.01.01 | Fe 415 / Fe 500 - SAIL / VSP (Vizag) / TATA . | MT | QRO | 82000
S3 | 03.01.02 | Fe 415 / Fe 500 - Any IS approved Brands . | MT | 10 | 78500 | 785000
SECTION - 4 : MASONRY , PLASTER & POINTING.
S4 | 04.03.00 | Providing and laying first class Brick Masonry in CM 1:5 in foundations and up to finished floor lvl (FFL) level using approved quality Chamber bricks or locally available good quality burnt stock bricks having Min.Compressive Strength of 5 N/Sqmm or 50 Kg /sqcm and as approved by Consultant / Client including raking the joints, curing, scaffolding etc. complete. | Cum | 73 | 8400 | 613200
S4 | 04.20.00 | Prepare the surfaces of all external walls at all heights and plaster in c.m. 1:5,16mm thick finished smooth with wood float, including scaffolding complete. | Sqm | 450 | 550 | 247500
SECTION -9 : ROAD WORKS
Sec. No. | SL.NO | DESCRIPTION OF WORKS | UNIT | QTY | RATE | AMOUNT
S9 | 09.01.00 | Granular Sub Base : Providing and laying Granular Sub Base (GSB) conforming to Grading- VI of Table 400-1 of compacted thickness of maximum 150mm with specified graded stone metal and sand mixed in place and laid with mechanical means spreading with motor grader and compacting with vibratory roller having minimum 80-100 KN static weight to achieve desired density of 98% of MDD (IS 2720 part-8). The strength of each GSB layer shall be evaluated by conducting CBR (IS 2720 part-16 & 31) or plate load test using 750mm dia. plate, (IS 9214) for obtaining equivalent CBR value @ one test per 3000Sq.m compacted surface area as per the grading, including all material, labour, machinery with all leads & lifts etc. complete as per drawing & as directed. (Clause 401 of MORTH) | Cum | 426 | 2100 | 894600
S9 | 09.02.00 | Wet Mix Macadam : Providing, laying, spreading and compacting graded HBG crushed stone aggregate to Wet Mix macadam 100mm thick specification including cost ,of all materials and including premixing the materials with water at OMC in Mechanical mix plant carriage of mixed material by tipper to site ,laying in uniform layers with manually in base courses on well prepared surface and compacting with Vibratory roller to achieve the desired density etc., as directed by the engineer -in -charge and as per MORTH specification No. 406,Table 400-11 (Two layers) | Cum | 215 | 2250 | 483750
S9 | 05.03.00 | Providing and Laying "HDPE" sheet of 150 Microns thk as Moisture Barrier over the PCC levelling coarse with necessary minimum over lap of 4" wide , to hold water content in overlaid concrete and to protect moisture ingression from subsurface of flooring , inclusive of necessary materials and labour etc. complete. | Sqm | 2132 | 90 | 191880
S9 | 05.06.00 | Prepare the surface of leveling course and lay flooring of various thickness of concrete by using SITE MIX / AJOX machine of Specified Grade having min Cement Content & Water Cement Ratio as specified in IS 456 -2007 and as per consultant /client approved Design Mix Report, cement using OPC 43 / 53 Grade , but without any flyash content per meter cube using 20mm and down graded machine crushed stone aggregateas , reinforcements as per Design Floor Load requirement in both ways and the flooring laid in panels etc. complete including curing, laying in line and levels etc. finishing the floor only by power trowel finish ( rough , medium and smooth), including the cost of shuttering & but reinforcement steel will be measured seperately) .
| 05.06.04 | M25 Grade - 100mm thk | Sqm | QRO | 1200
| 05.06.05 | M25 Grade - 150mm thk | Sqm | 2132 | 1475 | 3144700
S9 | 09.15.00 | Providing and laying approved NP2 Class RCC Precast Pipe to the following diameters, to required line, gradient, the works include all machinery to lay the pipe, jointing system of points, grout treatment to joints or other manufacturer recommended joint system, testing of gradient, the works shall be complete as per specification, drawing and as directed.
| 09.15.03 | 450 mm dia | RM | 50 | 3500 | 175000
S9 | 09.14.00 | Providing and fixing RCC kerbstone with Concrete Grade of M20 in following sizes including making , mould, casting, finishing, stacking, shifting erection, alignment, filling mortar in joints, curing etc, finishing with 2 coats of enamel paint with primer of approved shade etc complete.
| 09.14.01 | 450 x 500 x 150 mm thick | Nos | 1120 | 1000 | 1120000
SECTION -10 : MISCELEANEOUS WORKS .
Sec. No. | SL.NO | DESCRIPTION OF WORKS | UNIT | QTY | RATE | AMOUNT
S8 | 10.33.00 | Dismantling and breaking of RCC concrete Upto FFL including necessary excavation / back filling as per site engineers direction, without disturbing the adjacent structure and depositing the debris with lead of 1 KM. including removing the salvagable material, and if necessary weighing the reinforcement rod in the weigh bridge and placing it in the stock yard. | Cum | 36 | 4750 | 171000
S8 | 10.34.00 | Dismantling and breaking of RCC concrete Above FFL including necessary Staging & Scaffolding as specified and as directed by Consultant / Client , without disturbing the adjacent structure and depositing the debris with lead of 1 KM. including removing the salvagable material, and if necessary weighing the reinforcement rod in the weigh bridge and placing it in the stock yard. | Cum | 1 | 7500 | 7500
S8 | 10.35.00 | Dismantling & breaking of Brick / Rubble /Block masonry at any levels as specified and as directed and without disturbing the adjacent structure and depositing the debris with lead of 1 KM. including removing the salvagable material, necessary Scaffolding/Stage work etc. | Cum | QRO | 3200
S8 | 10.36.00 | Dismantling & breaking of Plain Cement Concrete works at any levels as specified and as directed and without disturbing the adjacent structure and depositing the debris with lead of 1 KM. including removing the salvagable material, necessary Scaffolding/Stage work etc. | Cum | 26 | 3000 | 78000
S8 | 10.15.00 | Supplying , fabrication & Fixing of MS Insert plates/Edge angles in reinforced concrete works with necessary holdfasts, to given line level as per the drg and as directed , Including materials, consumables , labour etc. complete. | Kg | QRO | 130
| 05.10.00 | Prepare the surface of leveling course / RC slab and lay Grano / IPS concrete flooring of various thickness of M20 Grade using 6mm and down size black granite chips to given lines and levels including laying in alternate panels, finishing the surface smooth to given levels, curing etc., complete at all levels.
| 05.10.02 | 50mm thk | Sqm | 120 | 550 | 66000
[5 empty] | Total | 8648255
TOTAL COST OF SECTIONS 1 TO 13